## Safety Product List
BAHJAT ENTERPRISES SAFETY PRODUCT LIST
S No. | Safety Items List |  | Category | Brands
1 | Fire Extinguisher | Water, Foam, CO₂ (Carbon Dioxide), Dry Powder (ABC), Wet Chemical , Size: 1 kg / 1 L, 2 kg / 2 L, 4.5 kg / 4.5 L, 5 kg, 6 kg / 6 L, 9 kg / 9 L, 25 kg / 25 L, 50 kg / 50 L, Clean Agent, Class D Powder | Body Protection | 3M
2 | Fire Extinguisher Accessories | Pressure Gauge, Tamper Seal (Pull Tie), Safety Pin, Discharge Horn (CO₂), Hose & Nozzle Assembly, Fire Extinguisher Stand, Fire Extinguisher Cabinet, Wall Mounting Bracket, Vehicle Mounting Bracket, Refill Valve / Charging Valve, Anti-Theft Strap / Cabinet Lock, Protective Cover, Photoluminescent Sign, Inspection Tag / Service Tag, Wall Sign / Identification Sign, Replacement O-Rings & Seals, Wheel Kit / Trolley, Fire Extinguisher Cover, Common Material : Bracket: Powder-coated steel or stainless steel, Cabinet: Mild steel, stainless steel, fiberglass (FRP), or polycarbonate, Stand: Mild steel or stainless steel, Safety Seal: Plastic, Inspection Tag: Plastic, aluminum, or laminated card | Chemical Safety | Allen Cooper
3 | Absorbent Pillow | Universal Absorbent Pillow Gray, Oil-Only Absorbent Pillow White, Chemical Absorbent Pillow Yellow, Size (Approx.) - 20 × 20 cm (8" × 8"), 25 × 25 cm (10" × 10"), 30 × 30 cm (12" × 12"), 40 × 40 cm (16" × 16") | Electrical Safety | Ansell
4 | Absorbent Roll | Universal Absorbent Roll Gray, Oil-Only Absorbent Roll White, Chemical Absorbent Roll Yellow, Width x Length : 38 cm (15") x 23–46 m, 40 cm (16") x 40–50 m, 76 cm (30") x 23–46 m, 80 cm (32") x 40–50 m, Material : Melt-blown polypropylene, Perforated or non-perforated, Single-, double-, or triple-ply construction, Lint-free options available for cleanroom applications | Emergency & Rescue | Bosch
5 | Acid Resistant Boots | PVC Acid Resistant Boots, Rubber Acid Resistant Boots, Neoprene Boots, PU (Polyurethane) Boots, Material: Polyvinyl Chloride (PVC), Natural or nitrile rubber, Neoprene rubber, Polyurethane, Size : 38 to 47 | Emergency Equipment | Bullard
6 | Acid Resistant Gloves | Polyvinyl Chloride (PVC) Gloves, Nitrile Rubber Gloves, Neoprene Gloves, Butyl Rubber Gloves, Fluoroelastomer Gloves, Latex Gloves, Hand Circumference (Approx.) : 7–8 in (18–20 cm) Small, 8–9 in (20–23 cm) Medium, 9–10 in (23–25 cm) Large, 10–11 in (25–28 cm) XL, Length : 30 cm (12"), 35 cm (14"), 45 cm (18"), 60 cm (24") | Eye Protection | Caterpillar
7 | Activated Carbon Mask | Disposable Activated Carbon Mask, Activated Carbon Respirator, Half-Face Respirator, Full-Face Respirator | Face Protection | Delta Plus
8 | Adhesive Bandage | Standard Adhesive Bandage, Fabric Bandage, Waterproof Bandage, Transparent Bandage, Knuckle Bandage, Fingertip Bandage, Butterfly Closure Strip, Extra-Large Bandage, Material : Non-woven fabric or woven fabric backing, Plastic (PE/PVC) waterproof backing, Sterile non-stick absorbent wound pad, Medical-grade hypoallergenic adhesive, Size : 19 × 72 mm, 25 × 72 mm, 38 × 38 mm, 50 × 75 mm, 100 × 60 mm | Fall Protection | Dräger
9 | Anti-Fatigue Mat | Foam Anti-Fatigue Mat, Rubber Anti-Fatigue Mat, Drainage Anti-Fatigue Mat, ESD Anti-Fatigue Mat, Heavy-Duty Anti-Fatigue Mat, PVC Foam, Polyurethane Foam, Natural Rubber, Nitrile Rubber, Rubber with drainage holes, Conductive or Static-Dissipative Rubber, Rubber, PVC, Vinyl, Width x Length : 60 cm x 90 cm, 60 cm x 120 cm, 90 cm x 150 cm, 90 cm x x 150 cm, Custom Roll x Up to 18 m | Fire Safety | Ergodyne
10 | Anti-Fog Safety Goggles | Coated Polycarbonate Anti-Fog & Anti-Scratch Goggles | First Aid & Medical | Hillson
11 | Antiseptic Solution | Povidone-Iodine Solution, Chlorhexidine Solution, Cetrimide Antiseptic Solution, Hydrogen Peroxide Solution, Alcohol-Based Antiseptic, Size: 50 ml, 100 ml, 250 ml, 500 ml, 1 L, 5 L | Foot Protection | Honeywell
12 | Anti-vibration Gloves | Full-Finger Anti-Vibration Gloves, Fingerless Anti-Vibration Gloves, Heavy-Duty Anti-Vibration Gloves, Impact & Anti-Vibration Gloves, Material : Synthetic leather or genuine leather palm, Gel, foam, or viscoelastic vibration-absorbing pads, Spandex or nylon back, Rubber or TPR (Thermoplastic Rubber) impact protection (optional), Hand Circumference (Approx.) 18–20 cm Small, 20–23 cm Medium, 23–25 cm Large, 25–28 cm XL, 28–30 cm XXL | Gas & Environmental Safety | JSP
13 | Apron | PVC Apron, Rubber Apron, Leather Welding Apron, Cotton/Canvas Apron, Polyethylene (PE) Apron, Neoprene Apron, Nitrile Apron, Material : Polyvinyl Chloride (PVC), Natural or synthetic rubber, Split cowhide leather, Cotton or canvas, Disposable polyethylene, Neoprene rubber, Nitrile-coated fabric | Gas Detection | Karam
14 | Arc Flash Balaclava | Single-Layer Arc Flash Balaclava, Double-Layer Arc Flash Balaclava, Arc-Rated Hood Balaclava, Full Head & Neck Balaclava, Material : Synthetic leather with gel/foam padding, Leather with padded palm, Leather with rubber and gel padding, FR Cotton Blend, FR Knit Fabric, Modacrylic/Aramid Blend, Arc-rated FR Fabric, Size : Small, Medium, Large, XL, XXL | Hand Protection | Kimberly-Clark Professional
15 | Arc Flash Face Shield | Standard Arc Flash Face Shield, High-Performance Arc Flash Face Shield, Premium Arc Flash Face Shield, Face Shield Kit, Material : Arc-rated polycarbonate visor, Anti-fog and anti-scratch coating, High-temperature polymer chin guard, Aluminum or composite mounting bracket, Compatible with Class E safety helmets | Head Protection | Lakeland
16 | Arc Flash Gloves | Rubber Insulating Gloves Natural rubber Class 4, 3, 2, 1, 0, 00, Natural insulating rubber, Leather protector gloves (worn over rubber gloves where required), Cotton glove liners (optional for comfort), Rolled cuff or straight cuff design, Small, Medium, Large, Extra Large, XXL, XXXL, # 7,8,9,10,11,12, | Height & Fall Protection | Liberty Warrior
17 | Arc Flash Hood | Arc Flash Hood 65–100 cal/cm² , 40 cal/cm² , 25 cal/cm², 0 cal/cm², Arc-rated flame-resistant (FR) fabric (aramid, modacrylic, or FR cotton blends), Arc-rated polycarbonate face shield, Anti-fog and anti-scratch visor, High-temperature stitching, Integrated helmet and suspension system (model dependent) | High-Visibility Clothing | Mallcom
18 | Arc Flash Suit | Arc Flash Hood, Arc-Rated Jacket, Arc-Rated Bib Overall / Coverall, Arc-Rated Face Shield or Visor, Safety Helmet (Class E), Voltage-Rated Rubber Gloves with Leather Protectors, Arc-Rated Balaclava, Safety Footwear, Material : Aramid (Nomex® or equivalent), Modacrylic blends, Flame-resistant cotton blends, Carbon fiber anti-static blends (model dependent), Arc-rated polycarbonate face shield, Arc Rating (ATPV/EBT): 8 cal/cm², 12 cal/cm², 20 cal/cm², 25 cal/cm², 40 cal/cm², 65–100 cal/cm² | Industrial Safety | MSA Safety
19 | Assembly Point Sign | Standard Assembly Point Sign, Photoluminescent Sign, Reflective Assembly Point Sign, Wall-Mounted Sign, Post-Mounted Sign, Self-Adhesive Vinyl, ACP (Aluminum Composite Panel), Photoluminescent Material, Reflective Sheeting, Steel / Metal, Glow-in-the-dark PVC, Reflective aluminum, Size : 150 × 150 mm, 300 × 300 mm, 450 × 450 mm, 600 × 600 mm, Custom Sizes | Industrial Safety Accessories | Nilkamal
20 | Butyl Rubber Gloves | Unsupported Butyl Rubber Gloves, Butyl Gauntlet Gloves, Textured Butyl Gloves, Heavy-Duty Butyl Gloves, Material : 100% Thick Butyl Rubber, Hand Circumference (Approx.), 18–20 cm Small, 20–23 cm Medium, 23–25 cm Large, 25–28 cm XL, 28–30 cm XXL, Length : 300 mm (12"), 350 mm (14"), 450 mm (18"), 600 mm (24") | Storage & Emergency | Tiger
21 | Canvas Gloves | Standard Canvas Gloves, Double Palm Canvas Gloves, Rubberized Cuff Canvas Gloves, Knitted Wrist Canvas Gloves, Leather Palm Canvas Gloves, Material : 100% Cotton Canvas, Cotton-polyester blend, Reinforced cotton stitching, Rubberized safety cuff or knitted elastic cuff, Leather palm (selected models), Hand Circumference (Approx.) : 18–20 cm Small, 20–23 cm Medium, 23–25 cm Large, 25–28 cm XL, 28–30 cm XXL | Respiratory Protection | Red Wing
22 | Chemical Face Shield | Standard Chemical Face Shield, Flip-Up Face Shield, Full-Length Face Shield, Helmet-Mounted Face Shield, Anti-Fog Face Shield, Material : Polycarbonate Visor, Clear polycarbonate visor, Coated Polycarbonate, PETG visor (selected models), Polycarbonate with Adjustable Headgear, ABS or HDPE headgear, Polycarbonate/PETG, Adjustable elastic or ratchet headband, Polycarbonate with Hard Hat Adapter, Anti-fog and anti-scratch coating (model dependent), Dimensions : Width x Length x Thickness : 200–250 mm x 250–300 mm x 1–2 mm | Road Safety | Safari Pro
23 | Chemical Goggles | Indirect-Vent Chemical Goggles, Non-Vented Chemical Goggles, Direct-Vent Goggles, Over-the-Glasses (OTG) Goggles, Anti-Fog Chemical Goggles, Material : Polycarbonate lens, PVC, TPR, or silicone frame, Elastic adjustable head strap, Anti-fog and anti-scratch lens coating (selected models) | Lifting Safety | North by Honeywell
24 | Chemical Splash Apron | PVC Chemical Apron, Neoprene Chemical Apron, Nitrile Chemical Apron, Polyurethane (PU) Apron, Vinyl Chemical Apron, Material : PVC (Polyvinyl Chloride), Neoprene, Nitrile Rubber, Polyurethane (PU), Vinyl, Dimensions (Approx.): Small (S) 70 × 100 cm, Medium (M) 80 × 110 cm, Large (L) 90 × 120 cm, Extra Large (XL) 100 × 130 cm | Machine Safety | Portwest
25 | Chemical Splash Goggles | Indirect-Vent Chemical Splash Goggles, Non-Vented Chemical Splash Goggles, Anti-Fog Chemical Splash Goggles, OTG (Over-the-Glasses) Goggles, Wide-Vision Chemical Goggles, Material : Polycarbonate lens, PVC, TPR, or silicone frame, Adjustable elastic head strap, Anti-fog and anti-scratch lens coating (selected models), Width x Height : 160–180 mm x 70–90 mm | Marine & Water Safety | Protek
26 | Chemical Suit | Splash Protection Suit, Chemical Coverall with Hood, Reusable Chemical Suit, Fully Encapsulated Chemical Suit, Disposable Chemical Suit, | Miscellaneous Safety | Pyramex
27 | Chemical-Resistant Gloves | Nitrile Gloves, Neoprene Gloves, Butyl Rubber Gloves, PVC Gloves, Viton® Gloves, Natural Rubber (Latex) Gloves, Material : Nitrile Rubber, Neoprene, Butyl Rubber, Polyvinyl Chloride, Fluoroelastomer, Latex, Hand Circumference (Approx.) : 18–20 cm S, 20–23 cm M, 23–25 cm L, 25–28 cm XL, 28–30 cm XXL, Length : 300 mm (12"), 350 mm (14"), 450 mm (18"), 600 mm (24") | PPE Accessories | Radians
28 | Composite Toe Safety Shoes | Low-Cut Composite Toe Shoes, Mid-Ankle Composite Toe Boots, High-Ankle Safety Boots, Waterproof Composite Toe Boots, Electrical Hazard (EH) Composite Shoes, Material : Composite toe cap (fiberglass, carbon fiber, Kevlar®, or reinforced polymer), Full-grain leather or microfiber upper, Mesh or breathable fabric lining, PU (Polyurethane) outsole, Rubber outsole (selected models), EVA or PU cushioned midsole, Size : 38 to 48 | Retrieval System | Ringers Gloves
29 | Cone Bar | Expandable Cone Bar, Telescopic Cone Bar, Reflective Cone Bar, Heavy-Duty Cone Bar, Retractable Cone Bar, Material : High-impact ABS plastic, Polypropylene (PP), Aluminum telescopic tube (selected models), Reflective PVC tape, UV-resistant plastic, Size : 1.2 m, 1.3 m, 1.5 m | Safety Accessories | Safepro
30 | Cooling Vest | Evaporative Cooling Vest, Phase Change Cooling Vest (PCM), Ice Pack Cooling Vest, Active Cooling Vest, High-Visibility Cooling Vest, Polyester or nylon outer fabric, Mesh lining for breathability, Phase Change Material (PCM) cooling packs, Reusable gel or ice packs (selected models), Hook-and-loop or zipper closure, Reflective tape (high-visibility models), Size : S, M, L, X, XL, XXL | Site Safety | Stanley
31 | Cotton Boiler Suit | Standard Cotton Boiler Suit, Poly-Cotton Boiler Suit, High-Visibility Boiler Suit, Flame-Resistant (FR) Cotton Boiler Suit, Heavy-Duty Cotton Boiler Suit, 100% Cotton, Poly-Cotton (65% Polyester / 35% Cotton), Heavy-weight cotton fabric (selected models), Brass or heavy-duty plastic zipper, Reinforced stitching, Size : S, M, L, XL, XL, XXL, | Spill Control | Sundström
32 | Cotton Gloves | Knitted Cotton Gloves, Cotton Inspection Gloves, PVC Dot Cotton Gloves, Cotton Jersey Gloves, Poly-Cotton Gloves, 100% Cotton, Bleached cotton, Cotton with PVC dots, Cotton jersey fabric, Polyester/Cotton Blend, Knitted cotton yarn, PVC grip dots (selected models), Size : S, M, L, XL, XL, | Welding Safety | Udyogi
33 | Coveralls | Cotton Coveralls, Poly-Cotton Coveralls, Flame-Resistant (FR) Coveralls, Chemical Protective Coveralls, Disposable Coveralls, Material : 100% Cotton, Polyester/Cotton Blend, Flame-resistant (FR) treated cotton, Aramid blends (selected models), Polypropylene, Microporous film laminate, Chemical barrier fabrics, Size : S, M, L, XL, XXL, XXXL | Workplace Safety | Uvex
34 | CPR Face Shield | Disposable CPR Face Shield, CPR Face Shield with One-Way Valve, Keychain CPR Face Shield, Pocket CPR Face Shield, CPR Barrier Mask, Medical-grade polyethylene (PE) barrier sheet, One-way filter valve (selected models), Elastic ear loops (selected models), Nylon pouch or hard plastic case (selected models) | Workplace Safety | Venus
35 | CPR Mask | Pocket CPR Mask, CPR Mask with Oxygen Inlet, Adult & Child CPR Mask, Professional CPR Mask Kit, Training CPR Mask, Material : Medical-grade silicone mask, One-way filter valve, Polycarbonate connector, Elastic head strap (selected models), Hard protective carrying case
36 | Cryogenic Gloves | Standard Cryogenic Gloves, Elbow-Length Cryogenic Gloves, Shoulder-Length Cryogenic Gloves, Water-Resistant Cryogenic Gloves, Heavy-Duty Cryogenic Gloves, Material : Multi-layer insulated fabric, Waterproof outer shell, Thermal insulation lining, Breathable inner lining, Reinforced palm and fingertips, Extended safety cuff, Size : S, M, L, XL, XXL
37 | Cut-Resistant Gloves | HPPE Cut-Resistant Gloves, Nitrile-Coated Cut-Resistant Gloves, PU-Coated Cut-Resistant Gloves, Kevlar® Cut-Resistant Gloves, Stainless Steel Mesh Gloves, Material : High-Performance Polyethylene (HPPE), Aramid fibers (e.g., Kevlar®), Glass fiber (selected models), Steel fiber (selected models), Nitrile coating, Polyurethane (PU) coating, Latex coating (selected models), Size : S, M, L, XL, XXL
38 | Danger Sign | Danger – High Voltage, Danger – Keep Out, Danger – Confined Space, Danger – Toxic Chemicals, Danger – Explosive Area, Danger – Moving Machinery, Danger – Hot Surface, Danger – Fall Hazard,
39 | Danger Sign Board | Types of Danger Sign Board : Danger – High Voltage, Danger – Authorized Personnel Only, Danger – Confined Space, Danger – Flammable Material, Danger – Toxic Chemicals, Danger – Explosive Area, Danger – Moving Machinery, Danger – Hot Surface, Danger – Deep Excavation, Danger – Overhead Crane, Material : ACP, PVC, Acrylic, Aluminum, MS Sheet, Shape : Rectangle or Square, Color : Red, Black, and White, Header : White "DANGER" text on a Red background, Printing : UV Digital Print or Reflective Vinyl, Mounting : Wall-mounted, Pole-mounted, Fence-mounted, Usage : Indoor and Outdoor
40 | Disposable Apron | Disposable, Single Use, Material : PE (Polyethylene) or CPE, Thickness : 20–50 microns (typical), Size : Approximately 700 × 1200 mm (varies by manufacturer), Color : White, Blue, Green, Yellow,
41 | Disposable Coverall | Disposable, Single Use, Material : PP, SMS, or Microporous Fabric, Sizes : S, M, L, XL, XXL, XXXL, Color : White, Blue, Yellow, Green
42 | Disposable Gloves | Disposable, Single Use, Material : Nitrile, Latex, Vinyl, or Polyethylene (PE), Sizes : XS, S, M, L, XL, Color : Blue, Black, White, Clear
43 | Disposable Hood | Disposable, Single Use, Material : Polypropylene (PP), SMS, or Microporous Fabric, Color : White, Blue
44 | Disposable Mask | Disposable, Single Use, Material : Non-Woven Polypropylene, Layers : 2-Ply or 3-Ply (typical), Type : Ear Loop or Tie-On, Size : Universal Adult / Child Sizes, Color : Blue, White, Black, Green
45 | Disposable Respirator | Disposable, Single Use, Material : Non-Woven Polypropylene Filter Media, Type : Cup Style or Fold Flat, Sizes : Standard and Large (varies by manufacturer), Color : White (most common), Certification : N95, FFP2, FFP3, KN95 (depending on model and certification)
46 | Disposable Respirator Valve | Disposable, Single Use, Material : Non-Woven Polypropylene Filter Media, Type : Cup Style or Fold Flat, Valve : One-Way Exhalation Valve, Sizes : Standard and Large (varies by manufacturer), Color : White (most common), Certification : N95, FFP2, FFP3 (depending on model)
47 | Disposable Sleeve Covers | Disposable, Single Use, Material : PE, PP, SMS, or Microporous Fabric, Length : 16–20 inches (40–50 cm), Color : White, Blue
48 | Double Palm Gloves | Double Palm Cotton Gloves, Double Palm Canvas Gloves, Double Palm Leather Gloves, Double Palm Rigger Gloves, Heavy-Duty Double Palm Work Gloves, Material : Cotton Canvas, Split Leather, Cowhide Leather, Palm : Double-Layer Reinforced Palm, Cuff Type : Safety Cuff or Knit Wrist, Size : Free Size, L, XL, Color : Natural, Grey, Yellow, Blue (varies by model), Reusable : Yes
49 | Dust Mask | Type : Flat-Fold Dust Mask, Cup-Style Dust Mask, Non-Woven Dust Mask, Ear Loop Dust Mask, Headband Dust Mask, Material : Non-Woven Polypropylene, Type : Flat-Fold or Cup Style, Fit : Ear Loop or Headband, Color : White (most common), Size : Universal Adult, Reusable : No (Single Use)
50 | Dust Mask Dispenser | Type : Wall-Mounted Dust Mask Dispenser, Acrylic Face Mask Dispenser, Metal PPE Dispenser, Multi-Compartment PPE Dispenser, Disposable Respirator Dispenser, Material : Acrylic, Polycarbonate, ABS Plastic, or Steel, Mounting : Wall-Mounted or Free-Standing, Capacity : 25–100 disposable masks (varies by model), Compatibility : Dust Masks, Surgical Masks, Disposable Respirators, Color : Clear, White, Blue, Reusable : Yes
51 | Dust Respirator | N95 Dust Respirator, FFP2 Dust Respirator, FFP3 Dust Respirator, Cup-Style Dust Respirator, Fold-Flat Dust Respirator, Valved Dust Respirator, Non-Valved Dust Respirator, Material : Non-Woven Polypropylene Filter Media, Type : Cup Style or Fold Flat, Sizes : Standard, Large (varies by manufacturer), Color : White (most common), Certification : N95, FFP2, FFP3, KN95 (depending on model and certification)
52 | Ear Muffs | Type : Standard Headband Ear Muffs, Helmet-Mounted Ear Muffs, Folding Ear Muffs, Electronic Ear Muffs, High-Attenuation Ear Muffs, Material : ABS Plastic with Foam Cushions, Headband : Adjustable, Padded, Noise Reduction Rating (NRR) : 20–31 dB (depending on model), SNR (Single Number Rating) : 24–37 dB (depending on model), Color : Yellow, Red, Black, Green, Type : Headband, Neckband, Helmet-Mounted
53 | Ear Plugs | Disposable Foam Ear Plugs, Reusable Silicone Ear Plugs, Corded Ear Plugs, Uncorded Ear Plugs, Detectable Ear Plugs (for food processing), Custom-Molded Ear Plugs, Material : PU Foam, Silicone, or TPE, Color : Orange, Yellow, Blue, Green
54 | Electrical Insulating Gloves | Electrical Insulating Gloves Class 4, 3, 2, 1, 0, 00, Material : Natural Rubber or Synthetic Insulating Rubber, Size : 7, 8, 9, 10, 11, 12, Maximum Use Voltage (AC) : Up to 500 V, Up to 1,000 V, Up to 7,500 V, Up to 17,000 V, Up to 26,500 V, Up to 36,000 V
55 | Electrical Safety Boots | Type : Electrical Hazard (EH) Safety Boots, Dielectric Safety Boots, Composite Toe Electrical Safety Boots, Rubber Electrical Safety Boots, Waterproof Electrical Safety Boots, Lace-Up Electrical Safety Boots, Upper Material Leather, Rubber, or Synthetic, Toe Protection Composite Toe or Soft Toe (model dependent), Sole Material PU, TPU, Rubber, or Nitrile Rubber, Sole Properties Slip, Oil, and Abrasion Resistant, Safety Rating Electrical Hazard (EH) / Dielectric (model dependent), Size : UK 5–12 / EU 39–46 (varies by manufacturer)
56 | Electrical Safety Sign | Electrical Safety Sign : Danger – High Voltage, Danger – Electrical Hazard, Warning – Live Electrical Equipment, Authorized Personnel Only, Arc Flash Hazard, Risk of Electric Shock, Disconnect Power Before Servicing, Do Not Operate, Lockout/Tagout (LOTO) Required, Wear Electrical PPE, Material : PVC, ACP, Aluminum, Vinyl Sticker, Shape : Rectangle or Square, Size : 150 × 200 mm, 300 × 450 mm, 450 × 600 mm (typical), Color : Red, Yellow, Black, White, Printing : UV Digital Print or Reflective Vinyl, Mounting : Wall, Fence, Pole, or Equipment Mount
57 | Electronic Ear Muffs | Common Type : Standard Electronic Ear Muffs, Bluetooth® Electronic Ear Muffs, Helmet-Mounted Electronic Ear Muffs, Tactical Electronic Ear Muffs, Rechargeable Electronic Ear Muffs, Material : ABS Plastic Ear Cups with Foam Cushions, Power Source : AA/AAA Batteries or Rechargeable Battery (model dependent), Color : Black, Green, Yellow (varies by model), Optional Features : Bluetooth®, Built-in Microphones, Volume Control
58 | Escape Hood | Type : Smoke Escape Hood, Fire Escape Hood, Chemical Escape Hood, Industrial Escape Hood, Emergency Escape Breathing Device (EEBD), Self-Contained Escape Hood, Hood Material : Flame-Resistant Fabric with Transparent Visor, Filter Type : Multi-Gas, Smoke, and Particulate Filter (filter models)
59 | ESD Gloves | Type : PU-Coated ESD Gloves, Finger-Coated ESD Gloves, Palm-Coated ESD Gloves, Carbon Fiber ESD Gloves, Cleanroom ESD Gloves, Seamless Knitted ESD Gloves, Material : Nylon/Polyester with Conductive Carbon Fiber, Coating : PU (Polyurethane), Nitrile, or Uncoated, Surface Resistance: Typically 10⁶–10⁹ Ω (model dependent), Size : XS, S, M, L, XL, XXL, Color : White, Gray, Black, Reusable : Yes
60 | Face Shield | Types of Face Shield : Disposable Face Shield, Helmet-Mounted Face Shield, Welding Face Shield / Welding Helmet, Arc Flash Face Shield, Grinding Face Shield, Chemical Splash Face Shield, Clear Face Shield, Size : Small (S) - 52–56 cm, Medium (M) - 56–60 cm, Large (L) - 60–64 cm, Universal / Adjustable - 52–64 cm (adjustable headband), Visor Length : 6 in (152 mm), 8 in (203 mm), 10 in (254 mm), 12 in (305 mm), Common Visor Thicknes : 0.020 in (0.5 mm) – Light duty, 0.040 in (1.0 mm) – Standard industrial, 0.060 in (1.5 mm) – Heavy-duty impact protection, Material : Polycarbonate – High impact resistance (most common), PETG – Excellent chemical splash resistance, Acetate – Superior chemical resistance and anti-fog properties
61 | Face Shield Visor | Gold-Coated Heat Reflective Visor, Arc Flash Visor, Tinted/Smoke Visor, Wire Mesh Visor, PETG Visor, Acetate Visor, Clear Polycarbonate Visor, Thicknes : 0.5 mm (0.020 in) – Light-duty, 1.0 mm (0.040 in) – Standard industrial, 1.5 mm (0.060 in) – Heavy-duty impact protection, Length : 6 in (152 mm), 8 in (203 mm), 10 in (254 mm) (most common), 12 in (305 mm), Width : 8 in (203 mm)
62 | FFP2 Mask | FFP2 Mask without Valve, FFP2 Mask with Exhalation Valve, Fold-Flat FFP2 Mask, Cup-Style FFP2 Mask, Material : Non-woven polypropylene outer layer, Melt-blown polypropylene filter media, Soft inner comfort layer, Adjustable aluminum or steel nose clip, Elastic headbands, Size : Small (S), Medium (M), Large (L), Universal
63 | FFP3 Mask | FFP3 Mask without Valve, FFP3 Mask with Exhalation Valve, Fold-Flat FFP3 Mask, Cup-Style FFP3 Mask, Size : Small (S), Medium (M), Large (L), Universal, Material : Non-woven polypropylene outer layer, High-efficiency melt-blown filter media, Soft inner comfort layer, Adjustable aluminum nose clip, Elastic headbands, Optional foam nose seal for improved fit
64 | Filter Adapter | Universal Filter Adapter, Combination Filter Adapter, Pre-Filter Adapter, Threaded Filter Adapter, Bayonet Filter Adapter, Material : High-strength ABS plastic, Polycarbonate, Nylon, Silicone sealing gasket (on some models)
65 | Fire Alarm Call Point | Weatherproof Call Point, Addressable Call Point, Conventional Call Point, Resettable Call Point, Break Glass Call Point, Depth : 50–60 mm, Width : 85–95 mm, Height : 85–95 mm, Material : Flame-retardant ABS or polycarbonate housing, Glass or resettable polycarbonate operating element, Copper electrical contacts, Stainless steel fixing screws
66 | Fire Alarm Siren | Type: Addressable Fire Alarm Siren, Siren with Strobe Light, Electronic Fire Alarm Siren, Outdoor/Weatherproof Fire Alarm Siren, Indoor Fire Alarm Siren, Material : Flame-retardant ABS or polycarbonate housing, Electronic sounder module, LED or xenon strobe (combination models), Copper electrical connections
67 | Fire Blanket | Industrial Fire Blanket, Kitchen Fire Blanket, Wool Fire Blanket, Silica Fire Blanket, Fiberglass Fire Blanket, Size : 1.0 × 1.0 m, 1.2 × 1.2 m, 1.2 × 1.8 m, 1.8 × 1.8 m, 2.0 × 2.0 m, Material : Woven fiberglass, Silica fabric, Flame-retardant treated wool, Silicone-coated fiberglass (selected models)
68 | Fire Hose Cabinet | Type: Stainless Steel Fire Hose Cabinet, Outdoor Weatherproof Fire Hose Cabinet, Double Door Fire Hose Cabinet, Single Door Fire Hose Cabinet, Recessed Fire Hose Cabinet, Surface-Mounted Fire Hose Cabinet, Size (H × W × D) - 600 × 600 × 250 mm, 750 × 600 × 250 mm, 900 × 700 × 300 mm, 1200 × 900 × 350 mm, Material : Mild steel (powder-coated), Galvanized steel, Stainless steel (SS 304/SS 316), Toughened glass or acrylic viewing panel (optional)
69 | Fire Hose Pipe | Lay-Flat Fire Hose, Canvas Fire Hose, Rubber-Lined Fire Hose, Suction Fire Hose, Delivery Fire Hose, Hose Diameter : 1½ in (38 mm), 1¾ in (45 mm), 2 in (50 mm), 2½ in (65 mm), 3 in (75 mm), 4 in (100 mm), Length : 15 m (50 ft), 20 m (66 ft), 30 m (100 ft) (most common), 50 m (164 ft), Material : Woven polyester jacket, Synthetic rubber lining, PVC lining, Nitrile rubber, Polyurethane coating (selected models)
70 | Fire Hose Reel | Recessed Fire Hose Reel, Manual Fire Hose Reel, Automatic Fire Hose Reel, Swing Type Fire Hose Reel, Wall-Mounted Fire Hose Reel, Material : Mild steel or stainless steel reel, Semi-rigid rubber or PVC hose, Brass or gunmetal nozzle, Brass ball valve, Powder-coated steel mounting bracket, Hose Diameter : 19 mm (¾ in) (most common), 25 mm (1 in), Hose Length : 20 m, 30 m (most common), 36 m
71 | First Aid Box | Type : Wall-Mounted First Aid Box, Vehicle First Aid Box, Industrial First Aid Box, Workplace First Aid Box, Personal First Aid Box, Material : ABS plastic, Polypropylene (PP), Powder-coated steel, Aluminum, Stainless steel (heavy-duty models), Typical Dimensions (L × W × H) : 230 × 170 × 80 mm, 320 × 240 × 100 mm, 420 × 300 × 120 mm, 500 × 350 × 150 mm, Size : Small, Medium, Large, Extra Large
72 | First Aid Cabinet | Type : Portable First Aid Cabinet, Stainless Steel First Aid Cabinet, Metal First Aid Cabinet, Lockable First Aid Cabinet, Wall-Mounted First Aid Cabinet, Material : Powder-coated mild steel, Stainless steel (SS 304/SS 316), ABS plastic, Aluminum, Acrylic or tempered glass door (optional), Dimensions (H × W × D) : 300 × 250 × 120 mm, 450 × 350 × 150 mm, 600 × 450 × 200 mm, 750 × 600 × 250 mm, Size : Small, Medium, Large, Extra Large
73 | Flame-Resistant Clothing | Type : Molten Metal Protective Clothing, Arc Flash Suit, FR Hood/Balaclava, FR Jacket, FR Trousers/Pants, FR Shirt, FR Coveralls, Material : Treated cotton, Modacrylic blends, Nomex® (aramid), Kevlar® (aramid reinforcement), FR cotton/nylon blends, Carbon fiber antistatic blends (selected garments), Size : S, M, L, XL, XXL, XXXL
74 | Food Grade Gloves | Type : Reusable Food Grade Gloves, Polyethylene (PE) Food Grade Gloves, Vinyl Food Grade Gloves, Latex Food Grade Gloves, Nitrile Food Grade Gloves, Material : Nitrile, Natural latex, Vinyl (PVC), Polyethylene (PE), Neoprene (reusable models), Thicknes : PE Gloves: 0.01–0.03 mm, Vinyl Gloves: 0.08–0.12 mm, Nitrile Gloves: 0.10–0.15 mm, Reusable Gloves: 0.30–0.60 mm, Size : S, M, L, XL, XXL,
75 | Foot Protection | Heat Resistant Safety Footwear, Rubber Gumboots, Anti-Static / ESD Footwear, Metatarsal Safety Boots, Chemical Resistant Boots, Electrical Hazard (EH) Footwear, Composite Toe Safety Shoes, Steel Toe Safety Shoes, Safety Boots, Safety Shoes, Material : Leather, Full-grain leather, Nubuck leather, PVC, Rubber, Polyurethane (PU), Composite materials, Steel toe cap, Kevlar® puncture-resistant midsole, Size : 39, 40, 41,42, 43, 44, 45, 46
76 | FR Coverall | High-Visibility FR Coverall, Anti-Static FR Coverall, Arc Flash Coverall, Inherent FR Coverall, Cotton FR Coverall, Material : FR-treated cotton, Nomex® (aramid), Modacrylic blends, FR cotton/nylon blends, Kevlar® stitching (selected models), Carbon fiber antistatic yarn (selected models), Fabric Weight : 220–350 GSM, Size : S,. M, L, XL, XXL, XXXL
77 | Full Body Safety Harness | Type : Tower Climbing Harness, Arc Flash Harness, Rescue Harness, Positioning Harness, Construction Harness, Basic Full Body Harness, Material : High-strength polyester webbing, Forged alloy steel D-rings, Galvanized or stainless steel buckles, Aluminum hardware (selected models), High-strength polyester stitching, Size : S,. M, L, XL, XXL,
78 | Full Face Respirator | CBRN Full Face Respirator, Airline Full Face Respirator, Powered Air-Purifying Respirator (PAPR), Single Cartridge Full Face Respirator, Twin Cartridge Full Face Respirator, Material : Silicone rubber, Thermoplastic elastomer (TPE), Polycarbonate panoramic visor, EPDM sealing components, Adjustable polyester head harness, Size : S,M,L,XL
79 | Gas Mask | Military/CBRN Gas Mask, Escape Gas Mask (Escape Hood), Powered Air-Purifying Respirator (PAPR), Half Face Gas Mask, Full Face Gas Mask
80 | Glow-in-the-Dark Exit Sign | Type : Wall-Mounted Exit Sign, Ceiling-Hanging Exit Sign, Double-Sided Exit Sign, Directional Exit Sign (Left, Right, Up, Down), Door-Mounted Exit Sign, Self-Adhesive Exit Sign
81 | Grinding Face Shield | Type : Clear Polycarbonate Face Shield, Flip-Up Face Shield, Ratchet Headgear Face Shield, Mesh Face Shield, Heavy-Duty Industrial Face Shield, Visor Material Polycarbonate, Visor Thickness 1.0–2.0 mm, Visor Size Approximately 200 × 300 mm
82 | Half Face Respirator | Type: Quick-Latch Half Face Respirator, Thermoplastic Elastomer (TPE) Respirator, Silicone Half Face Respirator, Single-Filter Half Face Respirator, Dual-Cartridge Half Face Respirator, Size : Small, Medium, Large
83 | Hard Hat | Colour : Yellow, White, Blue, Green, Red, Orange
84 | Hazard Warning Sign | High Temperature Sign, Slippery Surface Sign, Radiation Warning Sign, Biohazard Sign, Flammable Material Sign, Chemical Hazard Sign, Electrical Hazard Sign, General Warning Sign, Material : PVC, Aluminum, Acrylic, Polypropylene, or Vinyl, Shape : Triangle (most common), Sizes : 100 × 100 mm, 200 × 200 mm, 300 × 300 mm, 450 × 450 mm, Color : Yellow background with Black symbol and border, Mounting : Adhesive, Screw, Nail, or Hanging
85 | Hearing Protection | Canal Caps (Semi-Insert Ear Plugs), Helmet-Mounted Ear Muffs, Electronic Ear Muffs, Ear Muffs, Ear Plugs, Material : Foam, Silicone, Thermoplastic, ABS Plastic
86 | Heat Detector | Type : Fixed Temperature Heat Detector, Rate-of-Rise Heat Detector, Combination Heat Detector, Addressable Heat Detector, Conventional Heat Detector
87 | Heat-Resistant Gloves | Type : Kevlar® Heat-Resistant Gloves, Aluminized Heat-Resistant Gloves, Leather Heat-Resistant Gloves, Silicone-Coated Heat-Resistant Gloves, Aramid Fiber Gloves, Terrycloth Heat-Resistant Gloves, Material : Kevlar®, Aramid Fiber, Leather, Aluminized Fabric, Silicone-Coated Fabric, Color : Yellow, Silver, Black, Brown, Orange
88 | Helmet Chin Cup | Rubber Chin Cup, Silicone Chin Cup, PVC Chin Cup, Integrated Chin Cup Strap, Replacement Chin Cup, Material : Silicone, Rubber, PVC, or TPE, Color : Black, Gray, or Transparent
89 | Helmet Chin Strap | 2-Point Chin Strap, 4-Point Chin Strap, Elastic Chin Strap, Adjustable Chin Strap, Quick-Release Chin Strap, Material : Polyester, Nylon, Elastic Webbing, or Cotton Blend, Chin Cup Material : Silicone, Rubber, or PVC (optional), Closure Type : Quick-Release Buckle or Clip, Color : Black, Gray, Yellow (varies by manufacturer)
90 | Helmet Ear Muff Adapter | Type : Universal Ear Muff Adapter, Slot-Mounted Adapter, Clip-On Ear Muff Adapter, Rail-Mounted Adapter, Manufacturer-Specific Adapter, Material : Nylon, ABS Plastic, or Polyamide, Mounting Type : Slot-Mounted, Clip-On, or Rail-Mounted, Color : Black or Gray
91 | High Voltage Gloves | Class 00 Insulating Gloves – Maximum use voltage up to 500 V AC, Class 0 Insulating Gloves – Maximum use voltage up to 1,000 V AC, Class 1 Insulating Gloves – Maximum use voltage up to 7,500 V AC, Class 2 Insulating Gloves – Maximum use voltage up to 17,000 V AC, Class 3 Insulating Gloves – Maximum use voltage up to 26,500 V AC, Class 4 Insulating Gloves – Maximum use voltage up to 36,000 V AC, Material : Natural Rubber / Insulating Rubber, Length : 280–410 mm (11–16 inches)
92 | Insulating Blanket | Class 0 Insulating Blanket, Class 1 Insulating Blanket, Class 2 Insulating Blanket, Class 3 Insulating Blanket, Class 4 Insulating Blanket, Slotted Insulating Blanket, Material : Natural Rubber / Synthetic Insulating Rubber, Thickness : Approximately 1–4 mm (class dependent), Color : Orange, Yellow, or Black (manufacturer dependent)
93 | Kevlar Gloves | Type : Cut-Resistant Kevlar Gloves. Heat-Resistant Kevlar Gloves, Kevlar-Coated Gloves, Knitted Kevlar Gloves, Kevlar Sleeve Gloves, Material : Kevlar® Aramid Fiber, Coating : None, PU, Latex, or Nitrile (model dependent), Size : S, M, L, XL, XXL, Color : Yellow, Black, Gray (varies by model)
94 | Knit Wrist Gloves | Cotton Knit Wrist Gloves, Polyester Knit Wrist Gloves, Nylon Knit Wrist Gloves, PU-Coated Knit Wrist Gloves, Nitrile-Coated Knit Wrist Gloves, Latex-Coated Knit Wrist Gloves, Cut-Resistant Knit Wrist Gloves, Material : Cotton, Polyester, Nylon, HPPE, or Kevlar® (model dependent), Coating : None, PU, Nitrile, or Latex (optional), Size : S, M, L, XL, XXL, Color : White, Gray, Black, Blue, Yellow (varies by model)
95 | Laser Safety Glasses | Type : Visible Laser Safety Glasses, Infrared (IR) Laser Safety Glasses, Ultraviolet (UV) Laser Safety Glasses, Multi-Wavelength Laser Safety Glasses, Over-the-Glasses (OTG) Laser Safety Glasses–Lens Color : Green, Red, Blue, Amber, Clear (model dependent), Frame Material : Nylon, Polycarbonate, or TR90, Lens Material : Polycarbonate or Glass
96 | Latex Gloves | Powder-Free Latex Gloves, Powdered Latex Gloves, Sterile Latex Gloves, Non-Sterile Examination Gloves, Medical Grade Latex Gloves, Industrial Latex Gloves, Food-Grade Latex Gloves, Material : Natural Rubber Latex, Color : Natural, White, Cream, Powder : Powder-Free / Powdered, Size : XS, S, M, L, XL, Disposable : Yes
97 | Leather Gloves | Type : Cowhide Leather Gloves, Goatskin Leather Gloves, Pigskin Leather Gloves, Split Leather Gloves, Grain Leather Gloves, Welding Leather Gloves, Driver Leather Gloves, Rigger Leather Gloves, Leather Palm Gloves, Insulated Leather Gloves, Material : Cowhide, Goatskin, Pigskin, Split Leather, Palm : Full Leather / Reinforced Leather, Size : S, M, L, XL, XXL, Color : Natural, Yellow, Brown, Gray, Black
98 | Life Jacket | Offshore Life Jacket (Type I), Near-Shore Buoyant Vest (Type II), Flotation Aid (Type III), Throwable Flotation Device (Type IV), Special-Use Life Jacket (Type V), Inflatable Life Jacket, Foam Life Jacket, Child Life Jacket, Work Vest Life Jacket, Rescue Life Jacket, Material : Polyester or Nylon Outer Shell with PE Foam / Inflatable Air Bladder, Color : Orange, Yellow, Red, Closure : Zipper, Buckles, Adjustable Straps, Reflective Tape : Yes
99 | N95 Mask | Cup-Style N95 Respirator, Foldable (Flat-Fold) N95 Respirator, N95 Respirator with Exhalation Valve*, N95 Respirator without Valve, Medical/Healthcare N95 Respirator, Industrial N95 Respirator
100 | Neoprene Gloves | Type : Unsupported Neoprene Gloves, Flocked-Lined Neoprene Gloves, Cotton-Lined Neoprene Gloves, Heavy-Duty Neoprene Gloves, Long Cuff Neoprene Gloves, Neoprene-Coated Work Gloves, Disposable Neoprene Gloves, Chemical-Resistant Neoprene Gloves, Material : Neoprene (Polychloroprene) Rubber, Length : 300–450 mm (Typical), Thickness : 0.3–0.8 mm (Typical), Color : Black, Green, Yellow (Varies by Model)
101 | Nitrile Gloves | Type : Disposable Nitrile Gloves, Powder-Free Nitrile Gloves, Powdered Nitrile Gloves, Examination Nitrile Gloves, Medical-Grade Nitrile Gloves, Industrial Nitrile Gloves, Heavy-Duty Nitrile Gloves, Textured Grip Nitrile Gloves, Material : Nitrile Butadiene Rubber (NBR), Type : Disposable, Thickness : 3–8 mil (Typical), Length : 240–300 mm (Typical), Color : Blue, Black, Purple, White, Green (Varies by Model)
102 | No Smoking Sign | Type : Standard No Smoking Sign, No Smoking Safety Board, No Smoking Sticker, No Smoking & No Open Flames Sign, No Smoking Beyond This Point Sign, Reflective No Smoking Sign, Glow-in-the-Dark No Smoking Sign, Self-Adhesive No Smoking Label, Material : PVC, Vinyl, Acrylic, Aluminum, or Steel, Shape : Circular or Rectangular, Color : Red, White, Black, Mounting : Self-Adhesive, Screw Fixing, Hanging, Finish : Gloss or Matte, Size : 100 × 100 mm, 200 × 200 mm, 300 × 300 mm (Typical)
103 | Nylon Gloves | Type : Seamless Knitted Nylon Gloves, PU-Coated Nylon Gloves, Nitrile-Coated Nylon Gloves, Latex-Coated Nylon Gloves, Palm-Coated Nylon Gloves, Finger-Coated Nylon Gloves, ESD Nylon Gloves, Cut-Resistant Nylon Blend Gloves, Material : Nylon Knitted Liner, Coating : PU, Nitrile, Latex, or Uncoated, Gauge : 13, 15, or 18 Gauge (Typical), Color : White, Gray, Black, Blue (Varies by Model), Size : S, M, L, XL, XXL
104 | P100 Respirator | Type : Half-Face P100 Respirator, Full-Face P100 Respirator, Disposable P100 Filtering Facepiece, Reusable P100 Cartridge Respirator, Powered Air-Purifying Respirator (PAPR) with P100 Filter, P100 Welding Fume Respirator, Mask Type : Half Face, Full Face, or PAPR, Protection : Dust, Smoke, Fumes, Mists, Particulates
105 | Polycarbonate Visor | Clear Polycarbonate Visor, Anti-Fog Polycarbonate Visor, Anti-Scratch Polycarbonate Visor, Helmet-Mounted Visor, Brow Guard Visor, Chin-Length Visor, Full-Face Polycarbonate Visor, Arc Flash-Rated Polycarbonate Visor (specialized models), Material : Polycarbonate (PC), Thickness : 1.0–2.0 mm (Typical), Lens Color : Clear (also available in tinted versions), Coating : Anti-Fog / Anti-Scratch (Model Dependent)
106 | PU Coated Gloves | Type : Palm-Coated PU Gloves, Fingertip-Coated PU Gloves, White PU Gloves, Grey PU Gloves, Black PU Gloves, Material : Polyurethane (PU) coating, Polyester liner, Nylon liner, Nylon/Spandex liner
107 | PVC Dipped Gloves | Type : Fully PVC Dipped Gloves, PVC Palm Dipped Gloves, Single-Dipped PVC Gloves, Double-Dipped PVC Gloves, Rough Finish PVC Gloves, Smooth Finish PVC Gloves , Material : PVC (Polyvinyl Chloride) coating, Cotton jersey liner, Interlock cotton liner, Seamless knitted liner, Polyester or nylon liner (depending on model), S (7), M (8), L (9), XL (10), XXL (11)
108 | PVC Gloves | Type : PVC Chemical Resistant Gloves, PVC Dipped Gloves, PVC Palm-Coated Gloves, Fully Coated PVC Gloves, Double-Dipped PVC Gloves, Smooth Finish PVC Gloves, Rough Finish PVC Gloves, Long Cuff (Gauntlet) PVC Gloves, Material : Polyvinyl Chloride (PVC), Cotton jersey liner, Interlock cotton liner, Seamless knitted liner, Polyester or nylon liner (model dependent), S (7), M (8), L (9), XL (10), XXL (11), Color : Green, Blue, Orange, Red, Black, Yellow
109 | PVC Safety Gumboots | Type : Steel Toe PVC Safety Gumboots, Steel Toe & Steel Midsole PVC Gumboots, Chemical-Resistant PVC Gumboots, Oil-Resistant PVC Gumboots, Electrical Hazard PVC Gumboots (selected models), Food-Grade PVC Gumboots, Plain Toe PVC Gumboots, Material : Polyvinyl Chloride (PVC) upper and sole, Steel toe cap (optional), Steel midsole (optional), Polyester or nylon lining, Slip-resistant PVC outsole, Color : Black, Yellow, Green, White, Blue, Orange
110 | Rain Poncho | Type : PVC Rain Poncho, PE (Polyethylene) Disposable Rain Poncho, EVA Rain Poncho, Heavy-Duty Industrial Rain Poncho, Reusable Rain Poncho, Hooded Rain Poncho, Reflective Safety Rain Poncho, Material : PVC (Polyvinyl Chloride), PE (Polyethylene), EVA (Ethylene Vinyl Acetate), Polyester with PVC/PU coating, Waterproof synthetic fabric, Size : Free Size, M, L, XL, XXL, Color : Yellow, Blue, Green, Orange, Transparent (Clear), Navy Blue
111 | Rain Suit | Type : PVC Rain Suit, PVC-Coated Polyester Rain Suit, PU-Coated Rain Suit, Nylon Rain Suit, Reflective Rain Suit, Heavy-Duty Industrial Rain Suit, High-Visibility Rain Suit, Material : Polyvinyl Chloride (PVC), Polyester with PVC coating, Polyurethane (PU)-coated fabric, Nylon, Waterproof synthetic fabric, Size : S, M, L, XL, XXL, XXXL, Color : Yellow, Blue, Green, Orange, Navy Blue, Black
112 | Reflective Coverall | Type : High-Visibility Reflective Coverall, Cotton Reflective Coverall, Poly-Cotton Reflective Coverall, Flame-Resistant (FR) Reflective Coverall, Antistatic Reflective Coverall, Disposable Reflective Coverall, Insulated Reflective Winter Coverall
113 | Reflective Raincoat | Type : High-Visibility Reflective Raincoat, PVC Reflective Raincoat, Polyester PVC-Coated Raincoat, PU-Coated Reflective Raincoat, Long-Length Reflective Raincoat, Hooded Reflective Raincoat, Heavy-Duty Industrial Reflective Raincoat, Material : PVC (Polyvinyl Chloride), Polyester with PVC Coating, PU (Polyurethane)-Coated Fabric, Nylon, Reflective Silver Tape, Waterproof Zippers or Snap Buttons, CColor : Fluorescent Yellow, Fluorescent Orange, Lime Green, Navy Blue, Blue, Size : S, M, L, XL, XXL, XXXL,
114 | Reflective Safety Cone | Type : PVC Reflective Safety Cone, Rubber Base Traffic Cone, Collapsible Reflective Cone, Heavy-Duty Reflective Cone, LED Reflective Safety Cone, Retractable Traffic Cone, High-Visibility Road Safety Cone, Material : PVC (Polyvinyl Chloride), Flexible Rubber, Thermoplastic Elastomer (TPE), High-Intensity Reflective Sheeting, Heavy Rubber Base, Heights: 300 mm, 450 mm, 500 mm, 750 mm, 1000 mm, Material: PVC or Rubber, Reflective Collar: High-Intensity or Engineering Grade, Base: Heavy Rubber or PVC, Color: Fluorescent Orange with White Reflective Bands, Color : Orange with White Reflective Bands, Lime Green with Reflective Bands, Yellow with Reflective Bands
115 | Reflective Safety Jacket | Type : High-Visibility Reflective Jacket, Waterproof Reflective Safety Jacket, Winter Insulated Reflective Jacket, Softshell Reflective Jacket, Bomber Reflective Safety Jacket, Flame-Resistant (FR) Reflective Jacket, Breathable Reflective Work Jacket, Material : Polyester, Oxford Fabric, PU (Polyurethane)-Coated Fabric, PVC-Coated Polyester, Fleece Lining (winter models), Reflective Silver Tape, Heavy-Duty Zipper and Snap Buttons, Size : S, M, L, XL, XXL, XXXL, Fluorescent Yellow, Fluorescent Orange, Lime Green, Navy Blue with Reflective Tape, Black with Reflective Tape
116 | Reflective Trouser | Standard Hi-Vis Reflective Trouser, Reflective Cargo Trouser, Reflective Rain Trouser, Flame-Resistant (FR) Reflective Trouser, Waterproof Reflective Trouser, Insulated Winter Reflective Trouser, Color : Fluorescent Yellow, Fluorescent Orange, Lime Green, Navy Blue with Reflective Tape, Black with Reflective Tape, Size : S, M, L, XL, XXL, XXXL, and custom sizes.
117 | Reflective T-Shirt | Type : Short Sleeve Reflective T-Shirt, Long Sleeve Reflective T-Shirt, Polo Reflective T-Shirt, Mesh Reflective T-Shirt, Moisture-Wicking Reflective T-Shirt, Two-Tone Reflective T-Shirt, ANSI/EN Certified Reflective T-Shirt, Material : 100% Polyester, Polyester Mesh, Polyester-Cotton Blend, Moisture-Wicking Performance Fabric, S, M, L, XL, XXL, XXXL, Custom sizes (available from some manufacturers), Color : Fluorescent Yellow, Fluorescent Orange, Lime Green
118 | Reflective Vest | Bright Fluorescent, Yellow, Lime Green, Orange
119 | Respiratory Accessories | Respirator filters, Gas and vapor cartridges, Pre-filters, Filter retainers and filter covers, Inhalation and exhalation valves, Head straps and harness assemblies, Face seals and gaskets, Cleaning wipes and cleaning kits, Storage boxes and carrying cases, Fit test adapters and inspection tools, Materials: High-impact plastic, silicone, rubber, activated carbon, nonwoven filter media, and stainless steel (depending on the accessory)
120 | Reusable Ear Plugs | Material: Silicone or thermoplastic elastomer (TPE), Cord: Corded or uncorded options, Color: Orange, blue, green, yellow, or other high-visibility colors
121 | Rope Lanyard | Material: Polyester or polyamide (nylon) rope, Rope Diameter: Typically 10–16 mm, Length: Commonly 1.2–2.0 m, Configuration: Single-leg or double-leg (Y-type), Connectors: Steel or aluminum snap hooks, scaffold hooks, or carabiners, Maximum User Capacity: Typically 100–140 kg (including clothing and tools, depending on the model)
122 | Safety Belt | Material: Polyester or nylon webbing, Hardware: Forged alloy steel or aluminum, Attachment Points: Side D-rings for work positioning, Waist Size: Adjustable to fit a range of users, Maximum User Capacity: Typically 100–140 kg (including clothing and tools, depending on the model)
123 | Safety Flag | Vehicle Safety Flag, Warning Flag, Oversized Load Flag, Traffic Control Flag, Survey Marker Flag, Material: Polyester, PVC, vinyl, or fluorescent fabric, Color: Orange, red, yellow, lime green, or custom colors, Size: Commonly 300 × 300 mm, 450 × 450 mm, or as required, Pole Material: Fiberglass, steel, aluminum, or PVC (where applicable), Finish: UV-resistant and weatherproof, Mounting: Pole, magnetic base, clamp, or bracket (model dependent)
124 | Safety Glasses | Type : Clear Lens Safety Glasses, Tinted Safety Glasses, Anti-Fog Safety Glasses , Over-the-Glasses (OTG) Safety Glasses, Foam-Sealed Safety Glasses, Lens Material: Polycarbonate, Frame Material: Nylon, polycarbonate, or thermoplastic, Lens Options: Clear, smoke, amber, mirrored, or indoor/outdoor, Coatings: Anti-scratch, anti-fog, UV-resistant
125 | Safety Goggles | Type : Direct-Vent Goggles, Indirect-Vent Goggles, Non-Vented Goggles, OTG (Over-the-Glasses) Goggles, Lens Material: Polycarbonate, Frame Material: PVC, TPR, or silicone, Lens Options: Clear, smoke, amber, or tinted, Coatings: Anti-fog, anti-scratch, UV protection, Headband: Adjustable elastic strap
126 | Safety Helmet | Type : General Industrial Helmet, Electrical Safety Helmet, Climbing/Height Safety Helmet, Vented Safety Helmet, Shell Material: HDPE, ABS, or polycarbonate, Suspension: 4-point or 6-point textile or plastic harness, Head Size: Typically 52–63 cm (adjustable), Weight: Approximately 300–450 g, Colors: White, yellow, blue, red, green, orange, and other high-visibility options
127 | Safety Shoes | Steel Toe Safety Shoes, Composite Toe Safety Shoes, Aluminum Toe Safety Shoes, ESD Safety Shoes, Electrical Hazard (EH) Safety Shoes, Metatarsal Safety Shoes, Waterproof Safety Shoes, Upper Material: Full-grain leather, microfiber, or breathable textile, Size : 39 to 46
128 | Sandblasting Gloves | Type : Blast Cabinet Gloves, Heavy-Duty Rubber Gloves,Neoprene Sandblasting Gloves, PVC Sandblasting Gloves, Cotton-Lined Gloves, Material: Natural rubber, neoprene, nitrile, or PVC, Length: Typically 600–800 mm, Thickness: Approximately 1–3 mm (model dependent), Finish: Textured or roughened grip surface, Color: Black, green, or manufacturer-specific, Lining: Cotton or fabric lining (optional)
129 | Steel Toe Safety Shoes | Types of Steel Toe Safety Shoes : Low-Ankle Safety Shoes, High-Ankle Safety Boots, Waterproof Safety Shoes, Electrical Hazard (EH) Safety Shoes, Heat-Resistant Safety Shoes, Toe Cap: Steel, Upper Material: Full-grain leather, nubuck leather, microfiber, or synthetic materials, Closure: Lace-up, slip-on, or hook-and-loop
130 | Traffic Cone | Type : Standard PVC Traffic Cone, Reflective Traffic Cone, Heavy-Duty Rubber Base Cone, Collapsible Traffic Cone, LED Traffic Cone, Material: PVC, rubber, or thermoplastic, Height: Typically 300 mm, 500 mm, 750 mm, or 1000 mm
131 | Underground Warning Tape | Detectable Warning Tape, Non-Detectable Warning Tape, Buried Electrical Cable Warning Tape, Gas Pipeline Warning Tape, Water Line Warning Tape, Telecommunication Warning Tape, Material: Low-density polyethylene (LDPE) or high-density polyethylene (HDPE), Width: Typically 75–150 mm, Thickness: Approximately 100–300 microns (varies by manufacturer), Roll Length: Typically 100–500 m, Colors: Red, yellow, blue, green, orange, or other utility-specific colors
132 | UV Protection Safety Glasses | Types of UV Protection Safety Glasses : Clear UV Safety Glasses, Tinted UV Safety Glasses, Wrap-Around UV Glasses, Polarized UV Safety Glasses, Over-Spec UV Glasses, Lens Material: Polycarbonate, UV Protection: Typically blocks 99%+ UVA/UVB radiation (model dependent), Lens Coating: Anti-scratch, anti-fog, UV coating (depending on model), Frame Material: Nylon, polycarbonate, or rubberized materials
133 | Visitor Helmet | Standard Visitor Helmet, Ventilated Visitor Helmet, Chin Strap Visitor Helmet, Electrical Safety Visitor Helmet, Bump Cap Visitor Helmet, Shell Material: ABS, HDPE, or polycarbonate, Colors: White, yellow, blue, orange, green, or custom colors
134 | Visitor Safety Glasses | Lens Material: Polycarbonate, Lens Color: Clear, Frame Material: Polycarbonate/Nylon, Lens Type: Wraparound, impact-resistant
135 | Visor | Clear Polycarbonate Visor, Mesh Visor, Tinted/Smoke Visor, Heat-Resistant Visor, Material: Polycarbonate or Stainless Steel Mesh, Thickness: 1.0–2.0 mm (polycarbonate), Lens Color: Clear, Smoke, Green, or Gold-coated, Mounting: Helmet-mounted or headgear-mounted
136 | Welding Apron | Welding Apron, Heavy-Duty Split Cowhide Leather, Heat and Spark Resistant, Reinforced Heat-Resistant Stitching, Adjustable Neck and Waist Straps, Full Front Body Protection, Suitable for MIG, TIG, Arc Welding, Gas Cutting, Grinding, Metal Fabrication, and Industrial Hot Work Applications, Material: Split Cowhide Leather or Flame-Resistant Cotton, Thickness: 1.0–1.4 mm (leather), Color: Natural Brown, Yellow, or Black, Size: Universal or S–XL, Closure: Adjustable leather or webbing straps with buckles
137 | Welding Blanket | Type : Fiberglass Welding Blanket, Silica Welding Blanket, Carbon Fiber Welding Blanket, Vermiculite-Coated Welding Blanket, Silicone-Coated Welding Blanket, Material: Fiberglass, Silica, Carbon Fiber, or Coated Fiberglass, Coating: Silicone or Vermiculite (optional), Thickness: 0.4–3.0 mm, Temperature Resistance: Typically 550°C to 1,200°C (material dependent), Sizes: 1 × 1 m, 1.8 × 1.8 m, 2 × 2 m, or custom sizes, Eyelets: Brass or Stainless Steel Grommets
138 | Welding Cap | Flame-Resistant (FR) Cotton Welding Cap, Leather Welding Cap, Reversible Welding Cap, Bandana Style Welding Cap, Skull Cap Welding Cap, Material: Flame-Resistant Cotton or Split Leather, Color: Blue, Black, Grey, Red (varies by manufacturer), Size: Universal or Adjustable, Closure: Elastic back or tie straps, Construction: Multi-panel stitched design, Compliance: Flame-resistant fabric (model dependent)
139 | Welding Face Shield | Type : Passive Welding Face Shield, Flip-Front Welding Face Shield, Auto-Darkening Welding Face Shield, Headgear-Mounted Welding Shield, Helmet-Mounted Welding Face Shield
140 | Welding Gloves | Type : MIG Welding Gloves, TIG Welding Gloves, Stick (Arc/SMAW) Welding Gloves, Aluminum Heat-Reflective Welding Gloves, Kevlar®-Stitched Leather Welding Gloves, Material: Split Cowhide Leather, Goatskin Leather, or Cow Grain Leather, Lining: Cotton, Fleece, or Foam (model dependent), Cuff Length: 4–6 inch (Gauntlet Style), Size: M, L, XL, XXL
141 | Welding Goggles | Flip-Up Welding Goggles, Fixed Lens Welding Goggles, Gas Welding Goggles, Brazing and Cutting Goggles, Indirect Vent Welding Goggles, Lens Material: Polycarbonate or Tempered Glass, Frame Material: PVC, Rubber, or TPR
142 | Welding Hand Shield | Welding Hand Shield, High-Impact Heat-Resistant Polypropylene/Fiberglass Construction, Fixed Handle Design, Replaceable Passive Welding Filter Lens (DIN 9–13), UV/IR Protection, Lightweight and Durable, Suitable for Arc, MIG, TIG, and Gas Welding, Metal Fabrication, Maintenance, and Industrial Hot Work Applications. Shield Material: High-impact Polypropylene, Nylon, or Fiberglass, Lens Type: Fixed passive welding filter, Lens Size: Standard replaceable filter lens
143 | Welding Helmet | Type : Auto-Darkening Welding Helmet, Passive Welding Helmet, Flip-Front Welding Helmet, Solar-Powered Welding Helmet, Industrial Welding Helmet, Shell Material: High-Impact Polyamide, Polypropylene, or Nylon, Lens Type: Auto-Darkening or Passive, Viewing Area: Typically 90 × 35 mm to 100 × 60 mm
144 | Welding Leg Guard | Leather Welding Leg Guard, Split Cowhide Welding Leg Guard, Welding Spats (Shoe & Ankle Protectors), Flame-Resistant Fabric Leg Guard, Heavy-Duty Industrial Leg Guard, Material: Split Cowhide Leather or Flame-Resistant Fabric, Thickness: 1.0–1.4 mm (leather)
145 | Welding Lens | Type : Fixed Shade Welding Lens, Auto-Darkening Welding Lens, Glass Filter Lens, Polycarbonate Cover Lens (Outer Protection), Inner Protection Lens, Material: Tempered Glass or Polycarbonate, Lens Type: Fixed Shade or Auto-Darkening, Shade Number: DIN 9, DIN 10, DIN 11, DIN 12, DIN 13
146 | Welding Sleeves | Type : Split Cowhide Leather Welding Sleeves, Flame-Resistant (FR) Cotton Welding Sleeves, Kevlar® Welding Sleeves, Aluminized Heat-Reflective Welding Sleeves, Elastic Cuff Welding Sleeves, Material: Split Cowhide Leather, FR Cotton, Kevlar®, or Aluminized Fabric, Length: 18–24 inches (450–600 mm), Color: Brown, Black, Yellow, or Green
147 | Wind Sock | Type : Standard Windsock, Aviation Windsock, Heavy-Duty Industrial Windsock, Illuminated Windsock, Reflective Windsock, Material: Polyester or Nylon Fabric, Color: Orange, White, or Orange/White Striped, Length: 1–3.6 m (3–12 ft), Frame: 360° Rotating Galvanized Steel or Aluminum, Mounting: Pole-mounted, Weather Resistance: UV, rain, and corrosion resistant
148 | Winter Jacket | Type : Insulated Winter Jacket, High-Visibility Reflective Winter Jacket, Waterproof Winter Jacket, Softshell Winter Jacket, Parka Winter Jacket, Hooded Winter Jacket, Outer Material: Polyester, Nylon, or Oxford Fabric, Closure: Heavy-duty zipper with storm flap, Colors: Navy Blue, Black, Orange, Yellow, Lime Green, Sizes: S–XXXL